## Instructions
New Version January 2023
General Instructions - READ CAREFULLY
Do not change the format of the 'Acquisitions' or 'Bar' sheets.They are the only ones processed by the beamline software (bluesky). Other sheets can be added and edited as needed.
When you export an excel workbook from bluesky, it will only contain the Bar and Acquisitions sheets, with no instructions or excel shading, so save this template file somewhere for your reference.
It is fine to just produce a workbook for yourself with only these sheets and no data validation, and you are encouraged to do that if you are having problems.
TEST your bar workbook ahead of beamtime by using the "rsoxs_plans" package https://github.com/NSLS-II-SST/rsoxs_scans - which includes the most up to date spreadsheet sample and the same code which will be used at the beamline
Accurate time estimates (within 15%) and breakdowns of the steps for each acquisition can be obtained using this package.
Filling out the spreadsheet:
1.) Enter all sample info in the "Bar" tab - be as thorough as you are able and enter values for ALL bold ('REQUIRED') columns. This information will follow the sample data, and will make analysis easier!
2.) Enter acquisitions in the "Acquisitions" tab, data validation is in place so you must chose a sample which you listed in the Bar tab and valid configurations and plans
Visit https://wiki-nsls2.bnl.gov/beamline7ID1/index.php?title=RSoXS_Samples for detailed instructions on filling out the Bar sheet.
visit https://wiki-nsls2.bnl.gov/beamline7ID1/index.php?title=RSoXS_Acquisitions for detailed instructions on filling out the Acquisitions sheet
Example Automated Run Queue Workflow

## Bar
Parameter/ Index | bar_name | sample_id | sample_name | project_name | institution | proposal_id | bar_spot | front | grazing | angle | height | sample_desc | project_desc | sample_priority | notes | sample_set | components | composition | thickness | density | sample_date | location | bar_loc | proposal | SAF | analysis_dir | data_session | acq_history | RSoXS_Main_DET
Description | REQUIRED: Unique name for this bar | REQUIRED: Unique identifier for the sample. | REQUIRED: Identifier for the sample (can be non-unique) | REQUIRED: Used as the name of the output data folder. | REQUIRED: Short abbreviation of your institution that will be added to folder names. | REQUIRED: 6-digit proposal number for this measurement. | REQUIRED: Location on the bar that you loaded the sample (within rows 1-27 and columns A-D). This will be used during alignment, so be careful! | REQUIRED: Is the sample mounted on the flat side of the bar (front)? | REQUIRED: Is this sample to be measured in grazing geometry (i.e., will it stop X-ray transmission?). | REQUIRED: Incident angle at which to collect data by default. This parameter is overwritten by acquisition plans that specify specific angles or angle series. | REQUIRED Distance from the surface of the sample bar to the top of the sample. | Full text description of your sample. This will all be searchable in the database. | Extra information about the project | REQUIRED 0 - critical 100-optional This can be used for organizing the acquisition order of the bar | Any additional information about the sample or scans. Anything entered here will be searchable later in the database. | Sub-project grouping can help to sort data | List of components | Quantitative composition, such as chemical formula for NEXAFS analysis | Thickness of sample for absorption quantification | Density of sample for absorption quantification | Date when sample was created | AUTOGENERATED: Motor positions for sample (overwritten by rotations) | AUTOGENERATED: Persistent sample positions, image positions, offsets, and fiducial positions | AUTOGENERATED: Full detail on proposal | AUTOGENERATED: Full details on the SAF | AUTOGENERATED: Directory where data is written out. | AUTOGENERATED: | AUTOGENERATED: Full history of acquisitions performed on this sample | AUTOGENERATED: Active Detector
Rules | Type: String All rows in the sheet must contain the same value for bar_name. | Type: String Must match any physical sample labels. All rows must have unique sample_id. | Type: String Plain english is encouraged | Type: String Any characters allowed on a linux filesystem | Type: String Be consistent across all beamtimes | Type: int This must match the approved proposal for this beamtime. Only include the numeric part. | Type: String Sample loading convention must match the wiki page 'RSoXS Sample Prep Advice' (link in the Notes for this parameter). | Type: boolean TRUE OR FALSE | Type: boolean TRUE or FALSE | Type: int or float If grazing TRUE: 0 is parallel to the surface. Valid angles: 20 to 90 degrees. If grazing FALSE: 0 is perpendicular to the back surface. Valid angles: -14 to 90 degrees. | Type: int or float Value in mm. | Type: String Any characters allowed on a linux filesystem | Type: String Any characters allowed on a linux filesystem | Type: int number between 0 and 100 | Type: String Any characters allowed on a linux filesystem | Type: String Any characters allowed on a linux filesystem | Type: String Any characters allowed on a linux filesystem | Type: String Should match a chemical formula | Type: int or float Value in nm. | Type: int or float Value in g/mL | Type: String | Autogenerated by beamline code - don't edit | Autogenerated by beamline code - don't edit | Autogenerated by beamline code - don't edit | Autogenerated by beamline code - don't edit | Autogenerated by beamline code - don't edit | Autogenerated by beamline code - don't edit | Autogenerated by beamline code - don't edit | Autogenerated by beamline code - don't edit
Example | testbar | EG01 | P3HT-AN-120C | NEXAFS or RSoXS or OPVs or lastName | NIST or NCSU or UPENN | 310704 | 1A OR 12CD OR third sample from top, blue and shiny | TRUE | TRUE | for transmission: 0 OR -1.6 for grazing: 30 OR 40 OR 55 | 0.25 | something about the sample default: "" | study of x effect on y default: "" | 1 | As-cast film for negative control of processing condition X. Needs C,F, O edge RSoXS. default: "" | opvs default: "" | p3ht default: "" | C1234H342O2F65 default: "" | 125 default: "" | 1.05 default: "" | 2022-03-09 default: "" | Autogenerated by beamline code - don't edit | Autogenerated by beamline code - don't edit | Autogenerated by beamline code - don't edit | Autogenerated by beamline code - don't edit | Autogenerated by beamline code - don't edit | Autogenerated by beamline code - don't edit | Autogenerated by beamline code - don't edit | Autogenerated by beamline code - don't edit
Notes | 0 | This is what will be referenced in the acquisitions, so keep it reasonably short. Recommend to stick to letter,numbers, and underscore. | Will be in file name (readable by whoever is loading and measuring samples) | The largest degree of sample classification. | 0 | In PASS, General user proposals generally begin with GU- and contain 6 digits. | The program will display this text when you are identifying the samples in the bar image. See https://wiki-nsls2.bnl.gov/beamline7ID1/index.php?title=RSoXS_Sample_Prep_Advice for bar orientation help. | 0 | For Transmission RSoXS, this should be TRUE For TEY NEXAFS, this should be FALSE | The lowest 'safe' value for grazing measurements is 30 degrees. | Si Wafers are usually 250 microns thick (0.25 mm) | 0 | 0 | Optional sorting method for queue creation. See https://wiki-nsls2.bnl.gov/beamline7ID1/index.php?title=Guide_to_Acquisition_Sorting_Options for details. | Just an an additional metadata column. | Just an an additional metadata column. | Useful for seaching for similar samples taken previously | Can be imported directly in QANT for Kramers Kronig | Can be imported directly in QANT for Kramers Kronig | Can be imported directly in QANT for Kramers Kronig | 0 | Autogenerated by beamline code - don't edit | Autogenerated by beamline code - don't edit | Autogenerated by beamline code - don't edit | Autogenerated by beamline code - don't edit | Autogenerated by beamline code - don't edit | Autogenerated by beamline code - don't edit | Autogenerated by beamline code - don't edit | Autogenerated by beamline code - don't edit
1 | testbar | p_1 | p3ht | testing | NIST | 310704 | 1A | TRUE | FALSE | 180 | 0.25 | something about the sample | I'm doing science | 1 | Example Transmission RSoXS Sample | opvs | p3ht | C1234H342O2F65 | 125 | 1.2 | 2023-01-09
2 | testbar | p_2 | pcbm | testing | NIST | 310704 | 2B | TRUE | TRUE | 20 | 0.25 | soemthing special about this samples | I'm doing science | 2 | Example Grazing NEXAFS Sample | opvs | pcbm | C60 | 10 | 1.5 | 2023-01-09

## Acquisitions
Parameter/ Index | sample_id | configuration | type | priority | edge | ratios | frames | repeats | speed | cycles | diameter | spiral_step | pol_mode | polarizations | angles | exposure_time | grating | diode_range | group | slack_message_start | slack_message_end | acquisition_notes
Description | REQUIRED: identifies sample on which to run this acquisition | REQUIRED: Measurement Configuration | REQUIRED: Type of measurement | REQUIRED: Determines which order scans will be run, lowest value first. | REQUIRED: Which elemental edge or energy ranges you wish to scan. | The ratio of speed (NEXAFS) or density of energy steps (RSoXS) between the different energy intervals specified by the "edge" parameter | How many steps you want per energy scan | How many images you want per energy step. | Rate (eV/sec) to scan during NEXAFS. | How many times to sweep energy up and back down | Diameter (mm) of spiral scan extent. | Distance (mm) between spiral scan steps. | Determines polarization convention for TEY NEXAFS measurements. See Notes. | Polarization (pol) angles to take the measurements at. | Angles for rotation of the sample about the vertical axis (theta) Coordinate system matches that chosen on the 'Bar' sheet based on the values of parameters 'grazing' and 'angle' | Exposure time(s) in seconds for rsoxs scans and spirals | which grating to use for measurements | high or low range for diode measurements | a filter when "run_bar" is used, to only run certain acquisitions, and ignore others | a message to send to the instrument-status channel of sst1-rsoxs-instrument Slack when this acquisition starts | a message to send to the RSoXS slack channel when this acquisition is finished | plain English description of this scan
Rules | Type: String Must exactly match a sample_id from the Bar sheet | Type: String SAXS OR WAXS OR SAXSNEXAFS OR SAXS_liquid OR WAXS_liquid | Type: String RSoXS OR NEXAFS OR Spiral | Type: int Valid Range: 1 to 100 | Type: String, int, float, list Must match an entry in the lookup table (see Notes), OR be a single energy OR be a list of energies within hard brackets | Type: String or list Must match the number of energy intervals specified by edge. | Type: String or int This is only an estimate, the threshold energies will always be favored. | Type: int | Type: String or int | Type: int | Type: int | Type: int | Type: String 'sample' OR 'lab' | Type: int, list Any mode: -1, 0.5 -> clockwise, counter-clockwise circular pol RSoXS, Spiral, or NEXAFS pol_mode = lab -> 0-90 deg linear pol 0 deg: beam pol horizontal w.r.t instrument 90 deg: beam pol vertical w.r.t instrument NEXAFS pol_mode = sample -> 20-90 deg 0 deg : sample-relative pol normal to the sample surface 90 deg : sample-relative pol parallel to the sample surface. | Type: int or float or list Follow the rules for bar -> angle | Type: int, list For rsoxs scans, a more complex nomenclature is available to define exposures for certain energy ranges. See the notebook example or the wiki. | rsoxs (default), 1200, 250 | high, low | string or number. "all" or not specifying will mean this acquisition will run with any grouping. Not specifying a group= in run_bar command will run all samples no matter their group | Type: String Any characters allowed on a linux filesystem | Type: String Any characters allowed on a linux filesystem | plain English description of this scan
Example | EG01 | SAXS | Spiral | 2 default: 50 | carbon OR oxygen OR 285 OR [270,280,290,400] | carbon OR carbon nonaromatic OR [N, 1, N] -> N times faster (NEXAFS), or take N times fewer energy measurements (RSoXS) in the 1st and 3rd intervals versus the 2nd. default: see wiki | full or short or very short default: full | 5 default: 1 | fast OR 0.3 OR 0.1 default: normal | 0, 1, 2 | 1.5 default: 1.8 | 0.5 default: 0.3 | lab default: sample | [30,55,70,90] for TEY NEXAFS series when angles = 30 0 for Magic angle TEY measurement, where angles = 55 -1, 0, 45, 90 for RSoXS at four beam polarizations default: 0 | 20,40,55,70,90 default: saved position | 0.01, 0.1, 1, 5 ,10 default: 1 | rsoxs | high default: high | "spirals" | Hey Eliot, I'm starting this important scan now | Done with this really important scan, start looking at the data! | plain English description of this scan
Notes | 0 | Determines which detector and slits are used. | Depending on the value of this cell, unnecessary acquisition parameters will be greyed out and locked. | Normal way to sort queue steps | See https://wiki-nsls2.bnl.gov/beamline7ID1/index.php?title=RSoXS_Acquisitions for details. | See https://wiki-nsls2.bnl.gov/beamline7ID1/index.php?title=RSoXS_Acquisitions for details. | See the examples in the rsoxs_scans\example jupyter notebook, and run dry runs there to see actual numbers of exposures and experimental times | Repeating exposures at a single step has much less overhead than defining multiple steps at one energy (~1 second vs ~4 seconds) | Built in speeds are good starting points. 0.1 is slow (5 minutes or so for a scan) 0.3 is fast (<2 minutes / scan) | For just one scan (low to high energy), use 0 |  |  | Sample Frame: Fixed sample rotation at angle in angles. Specify polarization angle you want at the sample and the software will calculate the required beam polarization, while keeping the incident angle (beam footprint) constant. Laboratory Frame: You specify both beam polarization and sample rotation. | For lab frame: 'horizontal' means along the in-board/outboard direction, and 'vertical' means along the up-down direction. For sample frame: 'sample_polarization' in the metadata will have the polarization at the sample, while 'polarization' will be the calculated beam polarization. | Note: This should only be filled in if you are deliberately changing the angle to be different from the one on the 'bar' sheet for an angle-scan series. If you have picked the spiral position at an angle already, leave this blank or you may misalign your samples. | See https://wiki-nsls2.bnl.gov/beamline7ID1/index.php?title=RSoXS_Acquisitions for details. | WARNING - moving gratings between measurements might result in loss of energy calibration | high should be used in any case where saturation might be a possibility - the majority of measurements | use to separate alignment scans which must all be run and analyzed before running data, or running ONLY some sub set of data. This isn't sorting like priority, it's filtering | Add tagging to get notifications by finding your member ID from your slack profile page on the sst1-rsoxs-instrument.slack.com Slack Workspace and adding it like <@memberid> | Add tagging to get notifications by finding your member ID from your slack profile page on the sst1-rsoxs-instrument.slack.com Slack Workspace and adding it like <@memberid> | plain English description of this scan
0 | p_1 | SAXS | rsoxs | 1 | c | [14 empty] | <@U04EGFS01A9> Spirals for BP start | <@U04EGFS01A9> Spirals for BP start
1 | p_2 | WAXS | nexafs | 2 | c | [14 empty] | <@U04EGFS01A9> Spirals for BP start | <@U04EGFS01A9> Spirals for BP start
2 | p_1 | WAXS | spiral | 3 | 270 | [5 empty] | 2.1 | 0.3 | [7 empty] | <@U04EGFS01A9> Hey! | <@U04EGFS01A9> Hey!
3 | p_2 | SAXS | rsoxs | 4 | f | [14 empty] | <@U04EGFS01A9> Hey! | <@U04EGFS01A9> Hey!
4 | p_1 | SAXSNEXAFS | nexafs | 5 | c | [14 empty] | <@U04EGFS01A9> Hey!
5 | p_2 | SAXSNEXAFS | spiral | 6 | 270 | [5 empty] | 2.1 | 0.3 | [7 empty] | <@U04EGFS01A9> Hey!
6 | p_1 | SAXS | spiral | 7 | 270 | [5 empty] | 1.8 | [8 empty] | <@U04EGFS01A9> Hey!
7 | p_2 | WAXS | spiral | 8 | 240 | [5 empty] | 1.5 | 0.5 | [7 empty] | <@U04EGFS01A9> Hey!
8 | p_1 | WAXS | spiral | 9 | 270 | [5 empty] | 3 | 0.5 | [7 empty] | <@U04EGFS01A9> Hey!
9 | p_2 | SAXS | spiral | 10 | 270 | [14 empty] | <@U04EGFS01A9> Hey!
10 | p_1 | SAXSNEXAFS | spiral | 11 | 270 | [5 empty] | 1 | 0.1
11 | p_2 | SAXSNEXAFS | nexafs_step | 12 | c |  |  |  | normal | 0
12 | p_1 | SAXS | nexafs | 13 | f |  |  |  | fast | 1
13 | p_2 | WAXS | nexafs | 14 | n |  |  |  | 0.05 | 2
14 | p_1 | WAXS | nexafs | 15 | o |  |  |  | 1 | 3
15 | p_2 | SAXS | nexafs | 16 | 120,150,180,300 | 1,5,1
16 | p_1 | SAXSNEXAFS | nexafs | 17 | c | [7 empty] | sample | 20,40,55,70,90 | 20
17 | p_2 | SAXSNEXAFS | nexafs | 18 | c | [7 empty] | lab | [20,40,55,70,90]
18 | p_1 | SAXS | nexafs | 19 | c
19 | p_2 | WAXS | nexafs | 20 | c | [11 empty] | rsoxs
20 | p_1 | WAXS | nexafs | 21 | c | [11 empty] | 1200
21 | p_2 | SAXS | nexafs | 22 | Carbon | [11 empty] | 250
22 | p_1 | SAXSNEXAFS | nexafs | 23 | c | [11 empty] | rsoxs
23 | p_2 | SAXSNEXAFS | nexafs | 24 | c | [12 empty] | high | diodeRangeTest
24 | p_1 | SAXS | nexafs | 25 | c | [12 empty] | low | diodeRangeTest
25 | p_2 | WAXS | nexafs | 26 | c | [12 empty] | high | diodeRangeTest
26 | p_1 | WAXS | nexafs | 27 | c | [12 empty] | none | diodeRangeTest
27 | p_2 | SAXS | nexafs | 28 | c
28 | p_1 | SAXSNEXAFS | nexafs | 29 | c
29 | p_2 | SAXSNEXAFS | nexafs | 30 | c
30 | p_1 | SAXS | rsoxs | 31 | [270,280,290,400] | [2,1,10]
31 | p_2 | WAXS | rsoxs | 32 | [270,280,290,400] | [2,1,10]
32 | p_1 | WAXS | rsoxs | 33 | [270,280,290,400] | (2,1,10)
33 | p_2 | SAXS | rsoxs | 34 | [270,280,290,400] | [2,1,10] | 5
34 | p_1 | SAXS | rsoxs | 35 | [270,280,290,400] | [2,1,10] | 10
35 | p_2 | SAXS | rsoxs | 36 | [270,280,290,400] | [2,1,10] | 20 | [12 empty] | <@D04F17CA6N5> Data collection started
36 | p_1 | SAXS | rsoxs | 37 | [270,280,290,400] | [2,1,10] | 50 | [12 empty] | <@D04F17CA6N5> Data collection started
37 | p_2 | WAXS | rsoxs | 38 | [270,280,290,400] | [2,1,10] | 100 | [12 empty] | <@U042XKPUQT1> Spirals for PK start
38 | p_1 | WAXS | rsoxs | 39 | [270,280,290,400] | [2,1,10] | 500 | [12 empty] | <@U042XKPUQT1> Spirals for PK start
39 | p_2 | SAXS | rsoxs | 40 | [270,280,290,400] | [2,1,10] | 500 | 10 | [11 empty] | <@U042XKPUQT1> Spirals for PK start
40 | p_1 | SAXS | rsoxs | 41 | c | [8 empty] | [0,90,-1] | [5 empty] | <@U042XKPUQT1> Spirals for PK start
41 | p_2 | SAXS | rsoxs | 42 | c | [8 empty] | [0,90,-1] | [0,20,50,80] |  |  |  |  | <@U042XKPUQT1> Spirals for PK start
42 | p_1 | SAXS | rsoxs | 43 | c | [10 empty] | [1,('less than',280),5] |  |  |  | <@U042XKPUQT1> Spirals for PK start
43 | p_2 | WAXS | rsoxs | 44 | c | [14 empty] | <@U042XKPUQT1> Spirals for PK start
44 | p_1 | WAXS | rsoxs | 45 | c | [9 empty] | [0,20,50,80] |  |  |  |  | <@U042XKPUQT1> Spirals for PK start
45 | p_2 | SAXS | rsoxs | 46 | c | [11 empty] | rsoxs |  |  | <@U042XKPUQT1> Spirals for PK start
46 | p_1 | SAXS | rsoxs | 47 | c | [11 empty] | 1200 |  |  | <@U042XKPUQT1> Rotations for PK start
47 | p_2 | SAXS | rsoxs | 48 | c | [11 empty] | 250 |  |  | <@U042XKPUQT1> Rotations for PK start
48 | p_1 | SAXS | rsoxs | 49 | c | [12 empty] | high |  | <@U042XKPUQT1> Rotations for PK start
49 | p_2 | WAXS | rsoxs | 50 | c | [12 empty] | low |  | <@U042XKPUQT1> Rotations for PK start
50 | p_1 | WAXS | rsoxs | 51 | c | [12 empty] | none |  | <@U042XKPUQT1> Rotations for PK start
51 | p_2 | SAXS | rsoxs | 52 | c | [14 empty] | <@U042XKPUQT1> Rotations for PK start
52 | p_1 | SAXS | rsoxs | 53 | c | [8 empty] | 90 | [5 empty] | <@U042XKPUQT1> Rotations for PK start
53 | p_2 | SAXS_liquid | rsoxs | 54 | c | [8 empty] | 0 | [5 empty] | <@U042XKPUQT1> Rotations for PK start
54 | p_1 | SAXS | rsoxs | 55 | c | [8 empty] | 0,90 | [5 empty] | <@U042XKPUQT1> Rotations for PK start
55 | p_2 | WAXS_liquid | rsoxs | 56 | c | [14 empty] | <@U042XKPUQT1> PK BCP + IL RSoXS start
56 | p_1 | WAXS | rsoxs | 57 | c | [14 empty] | <@U042XKPUQT1> PK BCP + IL RSoXS start
57 | p_2 | SAXS | rsoxs | 58 | c | [14 empty] | <@U042XKPUQT1> PK BCP + IL RSoXS start
58 | p_1 | WAXS_liquid | rsoxs | 59 | c | [14 empty] | <@U042XKPUQT1> PK BCP + IL RSoXS start
59 | p_2 | WAXS_liquid | rsoxs | 60 | c | [14 empty] | <@U042XKPUQT1> PK BCP + IL RSoXS start
60 | p_1 | SAXS | rsoxs | 61 | c | [14 empty] | <@U042XKPUQT1> PK BCP + IL RSoXS start
61 | p_2 | WAXS_liquid | nexafs | 62 | o | [14 empty] | <@U042XKPUQT1> PK BCP + IL RSoXS start
62 | p_2 | WAXS_liquid | rsoxs | 63 | o | [14 empty] | <@U042XKPUQT1> PK BCP + IL RSoXS start
63 | p_2 | SAXS_liquid | rsoxs | 64 | o | [14 empty] | <@U042XKPUQT1> PK BCP + IL RSoXS start
64 | p_2 | SAXS | rsoxs | 65 | [270,280,290,400] | [2,1,10] | [12 empty] | groupA | <@U042XKPUQT1> PK BCP + IL RSoXS start
65 | p_2 | WAXS | rsoxs | 66 | [270,280,290,400] | [2,1,10] | [12 empty] | groupA | <@U042XKPUQT1> PK BCP + IL RSoXS start
66 | p_2 | WAXS | rsoxs | 67 | [270,280,290,400] | (2,1,10) | [12 empty] | groupA | <@U042XKPUQT1> PK BCP + IL RSoXS start
67 | p_2 | SAXS | rsoxs | 68 | [270,280,290,400] | [2,1,10] | 5 | [11 empty] | groupA | <@U042XKPUQT1> PK PMMA + IL electron yield NEXAFS start

## SheetRulesAndMetaData
Sheet Rules and Metadata | Users should not modify this sheet
Sheet | Parameter | Description | Rules | Example | Notes
Bar | bar_name | REQUIRED: Unique name for this bar | Type: String All rows in the sheet must contain the same value for bar_name. | testbar
Bar | sample_id | REQUIRED: Unique identifier for the sample. | Type: String Must match any physical sample labels. All rows must have unique sample_id. | EG01 | This is what will be referenced in the acquisitions, so keep it reasonably short. Recommend to stick to letter,numbers, and underscore.
Bar | sample_name | REQUIRED: Identifier for the sample (can be non-unique) | Type: String Plain english is encouraged | P3HT-AN-120C | Will be in file name (readable by whoever is loading and measuring samples)
Bar | project_name | REQUIRED: Used as the name of the output data folder. | Type: String Any characters allowed on a linux filesystem | NEXAFS or RSoXS or OPVs or lastName | The largest degree of sample classification.
Bar | institution | REQUIRED: Short abbreviation of your institution that will be added to folder names. | Type: String Be consistent across all beamtimes | NIST or NCSU or UPENN
Bar | proposal_id | REQUIRED: 6-digit proposal number for this measurement. | Type: int This must match the approved proposal for this beamtime. Only include the numeric part. | 310704 | In PASS, General user proposals generally begin with GU- and contain 6 digits.
Bar | bar_spot | REQUIRED: Location on the bar that you loaded the sample (within rows 1-27 and columns A-D). This will be used during alignment, so be careful! | Type: String Sample loading convention must match the wiki page 'RSoXS Sample Prep Advice' (link in the Notes for this parameter). | 1A OR 12CD OR third sample from top, blue and shiny | The program will display this text when you are identifying the samples in the bar image. See https://wiki-nsls2.bnl.gov/beamline7ID1/index.php?title=RSoXS_Sample_Prep_Advice for bar orientation help.
Bar | front | REQUIRED: Is the sample mounted on the flat side of the bar (front)? | Type: boolean TRUE OR FALSE | TRUE
Bar | grazing | REQUIRED: Is this sample to be measured in grazing geometry (i.e., will it stop X-ray transmission?). | Type: boolean TRUE or FALSE | TRUE | For Transmission RSoXS, this should be TRUE For TEY NEXAFS, this should be FALSE
Bar | angle | REQUIRED: Incident angle at which to collect data by default. This parameter is overwritten by acquisition plans that specify specific angles or angle series. | Type: int or float If grazing TRUE: 0 is parallel to the surface. Valid angles: 20 to 90 degrees. If grazing FALSE: 0 is perpendicular to the back surface. Valid angles: -14 to 90 degrees. | for transmission: 0 OR -1.6 for grazing: 30 OR 40 OR 55 | The lowest 'safe' value for grazing measurements is 30 degrees.
Bar | height | REQUIRED Distance from the surface of the sample bar to the top of the sample. | Type: int or float Value in mm. | 0.25 | Si Wafers are usually 250 microns thick (0.25 mm)
Bar | sample_desc | Full text description of your sample. This will all be searchable in the database. | Type: String Any characters allowed on a linux filesystem | something about the sample default: ""
Bar | project_desc | Extra information about the project | Type: String Any characters allowed on a linux filesystem | study of x effect on y default: ""
Bar | sample_priority | REQUIRED 0 - critical 100-optional This can be used for organizing the acquisition order of the bar | Type: int number between 0 and 100 | 1 | Optional sorting method for queue creation. See https://wiki-nsls2.bnl.gov/beamline7ID1/index.php?title=Guide_to_Acquisition_Sorting_Options for details.
Bar | notes | Any additional information about the sample or scans. Anything entered here will be searchable later in the database. | Type: String Any characters allowed on a linux filesystem | As-cast film for negative control of processing condition X. Needs C,F, O edge RSoXS. default: "" | Just an an additional metadata column.
Bar | sample_set | Sub-project grouping can help to sort data | Type: String Any characters allowed on a linux filesystem | opvs default: "" | Just an an additional metadata column.
Bar | components | List of components | Type: String Any characters allowed on a linux filesystem | p3ht default: "" | Useful for seaching for similar samples taken previously
Bar | composition | Quantitative composition, such as chemical formula for NEXAFS analysis | Type: String Should match a chemical formula | C1234H342O2F65 default: "" | Can be imported directly in QANT for Kramers Kronig
Bar | thickness | Thickness of sample for absorption quantification | Type: int or float Value in nm. | 125 default: "" | Can be imported directly in QANT for Kramers Kronig
Bar | density | Density of sample for absorption quantification | Type: int or float Value in g/mL | 1.05 default: "" | Can be imported directly in QANT for Kramers Kronig
Bar | sample_date | Date when sample was created | Type: String | 2022-03-09 default: ""
Bar | location | AUTOGENERATED: Motor positions for sample (overwritten by rotations) | Autogenerated by beamline code - don't edit | Autogenerated by beamline code - don't edit | Autogenerated by beamline code - don't edit
Bar | bar_loc | AUTOGENERATED: Persistent sample positions, image positions, offsets, and fiducial positions | Autogenerated by beamline code - don't edit | Autogenerated by beamline code - don't edit | Autogenerated by beamline code - don't edit
Bar | proposal | AUTOGENERATED: Full detail on proposal | Autogenerated by beamline code - don't edit | Autogenerated by beamline code - don't edit | Autogenerated by beamline code - don't edit
Bar | SAF | AUTOGENERATED: Full details on the SAF | Autogenerated by beamline code - don't edit | Autogenerated by beamline code - don't edit | Autogenerated by beamline code - don't edit
Bar | analysis_dir | AUTOGENERATED: Directory where data is written out. | Autogenerated by beamline code - don't edit | Autogenerated by beamline code - don't edit | Autogenerated by beamline code - don't edit
Bar | data_session | AUTOGENERATED: | Autogenerated by beamline code - don't edit | Autogenerated by beamline code - don't edit | Autogenerated by beamline code - don't edit
Bar | acq_history | AUTOGENERATED: Full history of acquisitions performed on this sample | Autogenerated by beamline code - don't edit | Autogenerated by beamline code - don't edit | Autogenerated by beamline code - don't edit
Bar | RSoXS_Main_DET | AUTOGENERATED: Active Detector | Autogenerated by beamline code - don't edit | Autogenerated by beamline code - don't edit | Autogenerated by beamline code - don't edit
Acquisitions | sample_id | REQUIRED: identifies sample on which to run this acquisition | Type: String Must exactly match a sample_id from the Bar sheet | EG01
Acquisitions | configuration | REQUIRED: Measurement Configuration | Type: String SAXS OR WAXS OR SAXSNEXAFS OR SAXS_liquid OR WAXS_liquid | SAXS | Determines which detector and slits are used.
Acquisitions | type | REQUIRED: Type of measurement | Type: String RSoXS OR NEXAFS OR Spiral | Spiral | Depending on the value of this cell, unnecessary acquisition parameters will be greyed out and locked.
Acquisitions | priority | REQUIRED: Determines which order scans will be run, lowest value first. | Type: int Valid Range: 1 to 100 | 2 default: 50 | Normal way to sort queue steps
Acquisitions | edge | REQUIRED: Which elemental edge or energy ranges you wish to scan. | Type: String, int, float, list Must match an entry in the lookup table (see Notes), OR be a single energy OR be a list of energies within hard brackets | carbon OR oxygen OR 285 OR [270,280,290,400] | See https://wiki-nsls2.bnl.gov/beamline7ID1/index.php?title=RSoXS_Acquisitions for details.
Acquisitions | ratios | The ratio of speed (NEXAFS) or density of energy steps (RSoXS) between the different energy intervals specified by the "edge" parameter | Type: String or list Must match the number of energy intervals specified by edge. | carbon OR carbon nonaromatic OR [N, 1, N] -> N times faster (NEXAFS), or take N times fewer energy measurements (RSoXS) in the 1st and 3rd intervals versus the 2nd. default: see wiki | See https://wiki-nsls2.bnl.gov/beamline7ID1/index.php?title=RSoXS_Acquisitions for details.
Acquisitions | frames | How many steps you want per energy scan | Type: String or int This is only an estimate, the threshold energies will always be favored. | full or short or very short default: full | See the examples in the rsoxs_scans\example jupyter notebook, and run dry runs there to see actual numbers of exposures and experimental times
Acquisitions | repeats | How many images you want per energy step. | Type: int | 5 default: 1 | Repeating exposures at a single step has much less overhead than defining multiple steps at one energy (~1 second vs ~4 seconds)
Acquisitions | speed | Rate (eV/sec) to scan during NEXAFS. | Type: String or int | fast OR 0.3 OR 0.1 default: normal | Built in speeds are good starting points. 0.1 is slow (5 minutes or so for a scan) 0.3 is fast (<2 minutes / scan)
Acquisitions | cycles | How many times to sweep energy up and back down | Type: int | 0, 1, 2 | For just one scan (low to high energy), use 0
Acquisitions | diameter | Diameter (mm) of spiral scan extent. | Type: int | 1.5 default: 1.8
Acquisitions | spiral_step | Distance (mm) between spiral scan steps. | Type: int | 0.5 default: 0.3
Acquisitions | pol_mode | Determines polarization convention for TEY NEXAFS measurements. See Notes. | Type: String 'sample' OR 'lab' | lab default: sample | Sample Frame: Fixed sample rotation at angle in angles. Specify polarization angle you want at the sample and the software will calculate the required beam polarization, while keeping the incident angle (beam footprint) constant. Laboratory Frame: You specify both beam polarization and sample rotation.
Acquisitions | polarizations | Polarization (pol) angles to take the measurements at. | Type: int, list Any mode: -1, 0.5 -> clockwise, counter-clockwise circular pol RSoXS, Spiral, or NEXAFS pol_mode = lab -> 0-90 deg linear pol 0 deg: beam pol horizontal w.r.t instrument 90 deg: beam pol vertical w.r.t instrument NEXAFS pol_mode = sample -> 20-90 deg 0 deg : sample-relative pol normal to the sample surface 90 deg : sample-relative pol parallel to the sample surface. | [30,55,70,90] for TEY NEXAFS series when angles = 30 0 for Magic angle TEY measurement, where angles = 55 -1, 0, 45, 90 for RSoXS at four beam polarizations default: 0 | For lab frame: 'horizontal' means along the in-board/outboard direction, and 'vertical' means along the up-down direction. For sample frame: 'sample_polarization' in the metadata will have the polarization at the sample, while 'polarization' will be the calculated beam polarization.
Acquisitions | angles | Angles for rotation of the sample about the vertical axis (theta) Coordinate system matches that chosen on the 'Bar' sheet based on the values of parameters 'grazing' and 'angle' | Type: int or float or list Follow the rules for bar -> angle | 20,40,55,70,90 default: saved position | Note: This should only be filled in if you are deliberately changing the angle to be different from the one on the 'bar' sheet for an angle-scan series. If you have picked the spiral position at an angle already, leave this blank or you may misalign your samples.
Acquisitions | exposure_time | Exposure time(s) in seconds for rsoxs scans and spirals | Type: int, list For rsoxs scans, a more complex nomenclature is available to define exposures for certain energy ranges. See the notebook example or the wiki. | 0.01, 0.1, 1, 5 ,10 default: 1 | See https://wiki-nsls2.bnl.gov/beamline7ID1/index.php?title=RSoXS_Acquisitions for details.
Acquisitions | temperatures | temperature(s) to move to between / during scans. | repeat the scans above for each temperature. | 120 | ONLY used with the TEM holder - not valid for normal sample bar
Acquisitions | temp ramp speed | the temperature ramp speed deg C / min | 0.1 - 100 are valid speeds | 10 | ONLY used with the TEM holder - not valid for normal sample bar
Acquisitions | wait at temperature | wait for the temperature to reach the setpoint before starting the scans or not | True/False | True | ONLY used with the TEM holder - not valid for normal sample bar
Acquisitions | grating | which grating to use for measurements | rsoxs (default), 1200, 250 | rsoxs | WARNING - moving gratings between measurements might result in loss of energy calibration
Acquisitions | diode_range | high or low range for diode measurements | high, low | high default: high | high should be used in any case where saturation might be a possibility - the majority of measurements
Acquisitions | slack_message_start | a message to send to the instrument-status channel of sst1-rsoxs-instrument Slack when this acquisition starts | Type: String Any characters allowed on a linux filesystem | Hey Eliot, I'm starting this important scan now | Add tagging to get notifications by finding your member ID from your slack profile page on the sst1-rsoxs-instrument.slack.com Slack Workspace and adding it like <@memberid>
Acquisitions | slack_message_end | a message to send to the RSoXS slack channel when this acquisition is finished | Type: String Any characters allowed on a linux filesystem | Done with this really important scan, start looking at the data! | Add tagging to get notifications by finding your member ID from your slack profile page on the sst1-rsoxs-instrument.slack.com Slack Workspace and adding it like <@memberid>
Acquisitions | group | a filter when "run_bar" is used, to only run certain acquisitions, and ignore others | string or number. "all" or not specifying will mean this acquisition will run with any grouping. Not specifying a group= in run_bar command will run all samples no matter their group | "spirals" | use to separate alignment scans which must all be run and analyzed before running data, or running ONLY some sub set of data. This isn't sorting like priority, it's filtering
Acquisitions | acquisition_notes | plain English description of this scan | Type: String Any characters allowed on a linux filesystem | carbon edge scan at three polarizations | Searchable in the database